100mm Propeller head Smoke chamber. Smoke in this chamber feeds into the hollow shaft and up to the propeller head Cut-away section showing torque strain gauges. Electrical connections run down the hollow axle. Strain gauge bridge supply and first-stage amplification by electronics rotating with axle. Electrical contacts on multi-wiper slip-rings carrying power and strain gauge signal Gearbox Motor Tachometer Sting for attachment to wings

Fig. . Propeller body.

Fig. . Plan and side view of propeller rig.

A

52.25mm (real) or 0.5m (model)

B

0.5m

Fig. 2.3. Standard (A) and ‘Sawtooth’ (B) Manduca planforms.

Fig. 2.4. Close-up of torque strain gauges.

A

B

Fig. Xxx. Calibration responses for vertical force (A) and torque (B) transducers. Responses were highly linear in both cases; linear regression lines fit with r2 of 0.9996 and 0.9xxx for lift and torque responses respectively.

-1.2

-0.5

32

3.8

0.0

0.5

1.0

1.5

2.0

2.5

3.0

3.5

0

4

8

12

16

20

24

28

Signal (Volts)

Time (s)

ii

i

Fig. 2.5. Typical voltage signals for a single run at high . The top (green) line shows tachometer trace, middle (blue) line the torque signal, and bottom (red) line the vertical force signal. Periods of 5 major oscillations in the vertical force trace (i) and imbalance over one complete revolution (ii) are marked with dotted lines.

A

Signal (Volts)

2

-12

-10

-8

-6

-4

-2

0

0

10

20

30

40

50

60

Time (s)

B

Signal (Volts)

2

-12

-10

-8

-6

-4

-2

0

60

0

10

20

30

40

50

Time (s)

Fig. 2.6. Vertical force signal (Volts) over time with the addition, and then removal, of 5g, 10g, and 20g before (A) and after (B) filtering.

A

B

Fig. 2.7. Averaged horizontal (A) and vertical (B) force coefficients against angle of revolution for standard Manduca wings over the ‘abbreviated’ range of .

Fig. 2.8. Construction for the derivation of lift and profile drag.

Fig. 2.13. Polar diagram showing results from three models for determining CD,pro and CL from the ‘Steady’ data represented by the lower grey line. A good model would result in values close to, or slightly above, those of the ‘Early’ conditions represented by the upper grey line. Data are ‘pooled’ values for all wings in the ‘leading-edge’ series.

A

B

Fig. 2.14. Smoke flow over Manduca wings at  = 0 (A) and  = 35 (B) revolving steadily at 0.1Hz. Smoke was released from various positions (marked with white arrows) on the leading-edge and upper surface of the wings. At very low angles of attack, the smoke describes an approximately circular path as the wing revolves underneath. At higher angles, a spiral leading-edge vortex and strong spanwise flow is visible.

Fig. 2.15. Polar diagrams for real Manduca wings in steady translating flow and ‘pooled’ model Manduca wings in revolution under ‘Early’ (upper grey line) and ‘Steady’ (lower line) conditions. Data for Manduca in translational flow come from Willmott and Ellington (1997c) for Re = 5560 and range  from  = -50 to 70 in 10 increments.

Fig. 2.16. Pressure distribution around a conventional airofoil (after Barnard and Philpott, 1995).

Fig. Xxx. Cartoons of flow around flat, revolving wing chords. At very low angles of incidence, or under theoretical, inviscid flow conditions, (A) flow diverges (dotted line) below the leading edge of the wing, and remains attached around the leading edge, providing ‘leading-edge suction’. Under the conditions described for revolving model hawkmoth wings at high incidences (B) flow separates at the leading edge, thus losing the leading-edge suction. The separated flow then rolls up to form a leading-edge vortex, which has strong spanwise flow (grey circle). At extreme incidences (C) separation occurs at leading and trailing edges, which wraps up into two distinct structures, which both have strong flow towards the wingtip (grey circles).

Fig. 2.17. Trigonometry of forces for a blade element if the resultant force for the element FR’ acts normal to the wing surface.

Fig. 2.18. Polar diagram comparing measured horizontal and vertical force coefficients with those predicted from the normal force relationship for the standard, flat, Manduca planform.  ranges from -20 to 100 in 5 increments.

Fig. 2.19. Polar diagram showing the results of dividing the resultant force coefficient into horizontal and vertical coefficients using the ‘normal force relationship’. The original data are for real Manduca wings in translational flow at Re = 5560 (Willmott and Ellington, 1997c).  ranges from -50 to 70 in 10 increments.